## NeuroSense Tremor Classifier — Full Plan

### Stage 1 — Data Loading & Subject Selection

- Load imu_sdata.pickle and subject_metadata.pickle

- Split subjects by healthstatus_id: PD patients (0) vs Healthy Controls (1 and 2)

- For each subject, flatten all sessions into a list of 5-second windows with metadata attached:

  - subject ID

  - health status

  - session index

  - window index within session

  - UPDRS tremor subscore if available (from med_eval_1 / med_eval_2)

### Stage 2 — Feature Extraction Per Window

Each window is shape (500, 3) — 500 samples × 3 axes at 100Hz.

Step 1 — Preprocessing

- Compute signal magnitude: mag = sqrt(x² + y² + z²) — collapses 3 axes into one signal, more robust to phone orientation

- Apply a high-pass filter (>1 Hz) to remove gravity component

Step 2 — Spectral Analysis

- Run FFT on the magnitude signal

- Compute Power Spectral Density (PSD)

Step 3 — Extract 3 Features

- Tremor power — sum of PSD in the 4–6 Hz band

- Dominant frequency — frequency with peak power within 3–7 Hz (slightly wider to catch edge cases)

- Tremor regularity — sharpness of the spectral peak, computed as ratio of peak power to mean power in the 3–7 Hz band. High ratio = narrow sharp peak = sustained rhythmic tremor

### Stage 3 — Threshold Calibration from SData

This is what makes the classifier data-driven rather than arbitrary.

- Compute tremor power for every window across all PD subjects only

- Build the distribution

- Set thresholds:

  - LOW_THRESH = 25th percentile of PD subject tremor power

  - MID_THRESH = 60th percentile

  - HIGH_THRESH = 85th percentile

- Set REG_THRESH = median regularity score across PD windows

- These 4 values are your classifier's only parameters — derived from data, explainable, adjustable

### Stage 4 — Per-Window Classification

Rule-based classifier using the 4 thresholds:

| Condition | Label |
| --- | --- |
| Power < LOW or dominant freq outside 4–6 Hz | None |
| Power ≥ LOW but < MID, or regularity < REG | Mild |
| Power ≥ MID but < HIGH | Moderate |
| Power ≥ HIGH and regularity ≥ REG | Severe |

Each window gets one label. No probabilities needed for MVP.

### Stage 5 — Hourly Aggregation

- Group windows by hour using session timestamps

- Majority vote across all windows in that hour → one bin per hour

- Track window count per hour:

  - ≥ 6 windows → confident

  - 3–5 windows → low confidence flag ⚠

  - < 3 windows → mark as no data, don't show a label

- Hours with no sessions at all → grey / no data in the view

### Stage 6 — ON/OFF Derivation

Simple mapping on top of tremor bins — no separate classifier needed:

| Tremor Bin | Motor State |
| --- | --- |
| None | ON |
| Mild | ON |
| Moderate | OFF |
| Severe | OFF |

This gives you the ON/OFF timeline as a byproduct of the tremor classifier, not a separate model.

### Stage 7 — Validation Against UPDRS

Before building the view, sanity check the classifier:

- For SData subjects with UPDRS tremor subscores, check that:

  - High UPDRS tremor score → majority of their windows labeled Moderate/Severe

  - Low UPDRS score → majority labeled None/Mild

- This is not a formal accuracy metric — it's a face validity check for the hackathon

- Report the agreement rate as your "clinical grounding" claim in the pitch

### Stage 8 — Output Structure

What gets passed to the clinician report view:

Per hour:

- hour timestamp

- tremor bin: None / Mild / Moderate / Severe

- motor state: ON / OFF

- window count + confidence flag

- dominant frequency (for tooltip detail)

Per day summary:

- % hours in each bin

- % ON-time

- peak tremor hour

- data coverage (hours with data / 24)

### Stage 9 — Clinician Report View

7-Day Timeline Row (one row per day, 24 columns)

| Color | Meaning |
| --- | --- |
| Green | ON (None/Mild tremor) |
| Amber | Moderate |
| Red | Severe / OFF |
| Grey | No data |

Daily Summary Card

- ON-time %

- Tremor severity breakdown as a small bar (% hours in each bin)

- Peak tremor period (e.g. "Most severe: 8–10am")

- Data coverage caveat if < 50% of hours have data

LLM Narrative Input

- Pass the daily summaries as structured JSON

- The LLM converts them into the 3-paragraph clinical narrative

- Example input signal: "Monday: 60% ON, peak Moderate tremor 8–10am, 6 hours of data"

### What This Is Not Claiming

Important for pitch honesty:

- This is not a diagnostic tool — PD diagnosis is pre-established

- Thresholds are population-derived from SData, not clinically validated cutoffs

- Phase 2 replaces the rule-based thresholds with a trained classifier using UPDRS as ground truth

- Hourly bins assume session data is representative of that hour — not guaranteed with SData's call-based recordings